SFALL (CCP4: Supported Program)

NAME

sfall - Structure factor calculation and X-ray refinement using

forward and reverse FFT

SYNOPSIS

sfall [ XYZIN foo.brk ] [ MAPIN foo.map ] [ HKLIN foo.mtz ] [ MAPOUT

foo_out.map ] [ HKLOUT foo_out.mtz ] [ XYZOUT foo_out.brk ] [ GRADMAT

foo.sfmat ]

[Keyworded input]

CONTENTS

1. DESCRIPTION

1. Generate atom map

2. Calculate structure factors

3. Generate X-ray gradients for refinement

4. Space Groups

2. KEYWORDED INPUT

3. MEMORY ALLOCATION

4. INPUT AND OUTPUT FILES

1. Notes on Formfactors

2. Notes on XYZIN, Atom names, etc

3. Notes on HKLIN

4. Notes on MAPIN

5. Output from Structure Factor Calculation

6. Notes on XYZOUT

7. Notes on HKLOUT

8. Notes on MAPOUT

9. Output from the Gradients Calculation - notes on GRADMAT

10. Output from the Calculation of the Optimum Shifts

11. Notes on stepsize

5. COMMON PROBLEMS

6. EXAMPLES

1. Calculate map from atom coordinates

2. Read in coordinates to calculate structure factors

3. Read in map to calculate structure factors

4. Iteration cycles to do back-transformation and phase

combination cycles in solvent flattening procedure

5. Unrestrained refinement

6. Prolsq refinement cycles Please note: PROLSQ is no longer

available as refinement program in the CCP4 Suite.

7. Simple Runnable Examples

7. AUTHORS

8. PROGRAM FUNCTION

1. Modelling of the electron density and calculation of

structure factors

2. Calculation of the gradients

3. The Normal Matrix

4. Calculation of the shifts

9. REFERENCES

10. SEE ALSO

DESCRIPTION

This program calculates structure factors and X-ray gradients for

refinement using inverse and forward fast Fourier techniques.

If coordinates are input, it builds an `atom map' on a suitable grid

over the asymmetric unit of the spacegroup. Atomic density is

distributed as a Gaussian centred on the atom position. The value of

the Gaussian depends on the distance from the atom centre, the atom

type, and temperature factor. Its value is calculated at each grid

point within a given radius for each atom, and the values are summed

to give an `atom map'. This `map' can then be used for an inverse fast

Fourier transform, which gives the structure factor. It is important

that the grid is fine enough to sample the atomic Gaussians accurately

- the accuracy of the structure factor estimates depends on this. I

recommend using a grid which gives a sampling of ~0.5�.

X-ray gradients are estimated by `differential synthesis'. A

difference map is calculated, and this is convoluted with the atomic

density.

By default, SFALL scales Fobs to Fcalc. This then lets you do maps on

(or close to) an absolute scale if the map comes from coordinates. If

you are back-transforming a map, e.g. in solvent-flattening or

averaging, then the map isn't on an absolute scale anyway, and so this

scaling is not particularly sensible (although not usually harmful).

Note that in iterative procedures, the Fobs you bring in to SFALL on

each cycle should be the original Fobs, not the one carried through

from the previous cycle (which may have been scaled, selected, or

otherwise corrupted). In this case, it is probably more sensible to

use the NOSCALE option in SFALL, then either (i) use SIGMAA to

generate Partial or Combined Fourier coefficients for the next map (if

you want to weight them); or (ii) use RSTATS to scale Fcalc to Fobs.

For a description of the original method see [1]. A modification in

calculating the gradients suggested by Alain Lifchitz is used.

A list of common problems (with possible solutions) can now be found

below.

1) Generate atom map

Input:

i) XYZIN

Coordinates (Brookhaven format with CRYST1 and SCALEi lines).

Output:

i) MAPOUT

Atom map. Various modifications can be made to this map:

a)

The `solvent' map. This map has zero at all points where there

is atomic density, and a constant value for all points where

there was no atomic density. It is used for calculating

structure factors for `bulk solvent' (see ICOEFL for ideas on

using this); or for use as a mask.

b)

A tagged `atom map' where each grid point is tagged with a flag

to say which residue, or which atom number, contributed most to

it. This is used for analysing map correlations, and real space

R-factors.

2) Calculate structure factors

By default a scale factor is calculated between Fobs and Fc and is

applied to the output Fobs. If this is not wanted then the keyword

NOSCALE must be used.

Input:

i) either coordinates or a map (compulsory)

If map is input it can be `truncated' to eliminate very high or

low density.

ii) HKLIN (optional)

This must contain: H K L FP SIGFP [ FREE FPART PHIP ...]

It MUST be sorted on h k l, and be in the CCP4 chosen

asymmetric unit. See NOTES ON HKLIN for further details.

The FREE value is generated by FREERFLAG or in X-PLOR and

transferred to MTZ format using F2MTZ. See the FREERFLAG

documentation. (Note that X-PLOR 3.1 only assigns flags of 0 or

1.) The keyword FREERFLAG allows reflexions with a given FREE

value to be excluded from refinement and Fc calculations.

IF FPART and PHIP have been assigned, the structure factor

output will equal the scaled FPART vector plus the contribution

calculated from the input plus the scaled FPART vector.

Output:

i) HKLOUT containing: H K L ... FC PHIC (WANGWT)

(If you are preparing the 'averaged map' for generating the

Wang envelope, (flagged by keyword AVMODE) the WANGWT will be

calculated as well as the structure factor modified for use in

solvent flattening.)

ii) MAPOUT - The atom `map' (optional).

You can also keep the atom map if you want to.

3) Generate X-ray gradients for refinement

These are used for minimisation of X-ray differences between FP and

FC. This calculation uses the forward FFT.

Input:

i) XYZIN

Coordinates (Brookhaven format with header).

ii) HKLIN

Containing: H K L FP SIGFP [ FREE ]

When FREE is assigned then a subset of reflections is excluded

from the gradient calculation (see above for details). Hence

the agreement between them and Fc plays no part of the

refinement procedure. The Free R factor calculated for these

reflections is a useful indicator of the quality of the

refinement [4]. It must be stressed that during a particular

refinement procedure only one freeR set of reflections should

be used. It is meaningless to change the freeR set in the

middle of refinement. However, with several freeR sets, it is

possible to compare the same refinement procedure against

different freeR sets. It is still possible for all the freeR

sets to be unsuitable e.g. if the NCS and the crystal symmetry

are related, as they often are, there may be special

relationships between classes of reflections, and this may mean

that the FREE set is not truly independent of the other

observations.

Output:

i) XYZOUT

A coordinate file in which the least squares shifts have been

applied.

ii) GRADMAT

A direct access file containing information about the X-ray

gradients, ready for input into PROLSQ (no longer available in

the CCP4 Suite).

Further details of the specification of input and output files is

given in section INPUT AND OUTPUT FILES.

See description of keyword MODE and examples for uses for the various

options.

Space Groups

SFALL has special subroutines to handle the following spacegroups:

P1                  P21(4)               P21212(1018 - alt. origin)

P212121(19)         P4122/P4322(91/95)   P41212/P43212 (92/96)

P31/P32(144/145)    P3/R3(143/146)       P3121/P3221(152/154)

P61/P65 (169/170)

It is possible to use the P1 version (or any suitable lower symmetry)

for the calculations. In particular, any non-primitive spacegroup can

be run in the appropriate primitive one. See keyword SFSGROUP for

details.

BUT BEWARE: To use SFSG P1 you must have your reflections sorted with

l>=0. This is NOT the default for P3121/P3221 or P6i22. You would be

sensible to run CAD with the keyword: `OUTLIM SPACEGROUP P1' before

calculating structure factors.

The crystal symmetry will be used to generate atom positions from a

unique molecule. See NOTES ON HKLIN for special requirements for the

HKLIN file when using a lower symmetry version.

KEYWORDED INPUT

All input is keyworded. Only the first 4 characters of a keyword are

significant. The keyworded records can be in any order.

Anything on a line after an ! or # is ignored and lines can be

continued by using a minus sign.

The possible keywords are:

Compulsory

MODE

Optional

AVMODE, BADD, BINS, BRESET, CELL, CHAIN, EDEN, END, FORMFACTOR,

FREERFLAG, GRID, H2OBG, LABIN, LABOUT, NOSCALE, OMIT, RATIO,

RESOLUTION, RMSSHIFT, RSCB, SCALE, SFSGROUP, SIGMA, STEPSIZE,

SYMMETRY, TITLE, TRUNCATE, VDWR, VERBOSE, WEIGHT.

N.B. Some of these are compulsory for some MODEs.

DESCRIPTION OF KEYWORDS

MODE [ ATMMAP ... | SFCALC ... | SFREF ... ]

This keyword controls the course of the calculation.

ATMMAP [ RESMOD ] [ ATMMOD ] [ SOLVMAP ]

Calculating `atom maps' from coordinates. The map extends over

the asymmetric unit of the appropriate space group (which may

be different from the true spacegroup, see keyword SFSGROUP for

possible groups). N.B. XYZIN and MAPOUT must be assigned.

Subsidiary keywords:

RESMOD

output `atom map' values tagged by a residue number flag.

ATMMOD

output `atom map' values tagged by a atom number flag.

SOLVMAP

output `solvent map' with value specified by the H2OBG keyword

(default=0.03) at all points not occupied by atom density. All

points occupied by atom density set to 0.0.

SFCALC ...

Structure factor calculation.

Subsidiary keywords:

XYZIN or MAPIN (one essential)

Define input type, either coordinates or a map. N.B. XYZIN or

MAPIN must be assigned.

followed by:

HKLIN (optional)

Only reflections which exist in the HKLIN file are output to

HKLOUT. The output FC PHIC are appended to input H K L FP

SIGFP... See keywords LABIN and LABOUT for further details.

N.B. HKLIN and HKLOUT must be assigned. See NOTES ON HKLIN for

the requirements placed on the HKLIN file.

ATMMAP or SOLVMAP (optional)

Either an `atom map' or a `solvent map' is output. The map

extends over the asymmetric unit of the space group used in the

structure factor calculation (see keyword SFSGROUP). Note that

for non-primitive space groups, only density for symmetry mates

corresponding to primitive symmetry operations is output; use

MODE ATMMAP to obtain a complete map. N.B. MAPOUT must be

assigned.

SFREF

Coordinate and/or B-factor refinement; will calculate least

squares gradient and shifts. N.B. XYZIN and HKLIN must be

assigned.

Subsidiary keywords:

MAPIN

(This option is exceedingly unlikely to be needed.) Gradients

will be taken from an input difference map. Usually this

difference map is generated internally from the structure

factors calculated from the atomic coordinates. However, in

some special situations, e.g. if you had averaged a difference

map earlier, you may want to input it rather than use the

internally generated one.

RESTRAINED

Atom parameter gradients calculated from the fit of the X-ray

data are output to GRADMAT, to be combined with geometric

restraints calculated by PROTIN and PROLSQ (no longer available

in the CCP4 Suite).

UNRESTRAINED

Parameter shifts to be applied without restraints; a file will

be written to XYZOUT.

If followed by:

XYZ

refinement of the X Y and Z parameters will be done.

XYZB

refinement of the XYZ and B parameters will be done.

B

refinement of the B parameters will be done.

Only possible with the UNRESTRAINED option.

Example 1: MODE ATMMAP

An electron density map is created from the atomic coordinates.

Example 2: MODE ATMMAP RESMOD

An electron density map is created from the atomic coordinates

with an extra residue identifying flag added to the atomic

density; this is 100*IRES+MCHFLG (If there are several chains

in your protein you will need to describe the chain limits

using the keyword CHAIN to avoid the same flag being given to

atoms from different chains). This allows OVERLAPMAP to analyse

the correlation coefficient between 2 maps or the `real space

R-Factor' for contributions from each residue.

Example 3: MODE ATMMAP ATMMOD

An electron density map is created from the atomic coordinates

with an extra atom identifying flag added to the atomic

density; this is 100*atom_number. This allows OVERLAPMAP to

analyse the correlation coefficient between 2 maps or the `real

space R-Factor' for contributions from each atom (This was used

to see if the hydrogen or deuterium atoms in a neutron study

could be distinguished in the electron density map).

Example 4: MODE SFCALC XYZIN HKLIN [ ATMMAP ]

A structure factor calculation is performed using the input

coordinates. HKLIN is read, and the FP are scaled to FC. HKLOUT

contains at least H K L scaled_FP scaled_SIGFP FC PHIC

(You can output unscaled FP by using the keyword NOSCALE). An

R-factor is calculated. If keyword ATMMAP is given the electron

density map created from the atomic coordinates is saved on

MAPOUT.

Example 5: MODE SFCALC MAPIN HKLIN

A structure factor calculation is performed using the input

map. The map MUST cover the asymmetric unit expected for the

SFSGROUP. This will be true if you have calculated the map

using FFT with the FFTSPACEGROUP the same as the SFSGROUP and

have NOT reset the AXIS order. Details are given below. HKLIN

is read, and the FP are scaled to FC. HKLOUT contains at least

H K L scaled_FP scaled_SIGFP FC PHIC

(You can output unscaled FP by setting keyword NOSCALE). An

R-factor is calculated.

Example 6: MODE SFCALC XYZIN (ATMMAP)

A structure factor calculation is performed using the input

coordinates. Since no HKLIN is read, the SYMMETRY you wish to

use for the structure will have to be given. The default is to

use the symmetry of the SFSGROUP. Output HKLOUT containing h k

l FC PHIC (WANGWT if AVMODE set) for all reflections within the

requested resolution limits.

If keyword ATMMAP is given the electron density map created

from the atomic coordinates is saved on MAPOUT.

Example 7: MODE SFCALC MAPIN

A structure factor calculation is performed using the input

map. The map MUST cover the asymmetric unit expected for the

SFSGROUP. This will be true if you have calculated the map

using FFT with the FFTSPACEGROUP the same as the SFSGROUP and

have NOT reset the AXIS order.

Example 8: MODE SFREF XYZ (or XYZB) RESTRAINED

Used for restrained refinement of XYZ coordinates or XYZ

coordinates and B factors. It is used in conjunction with

PROTIN and PROLSQ (no longer available in the CCP4 Suite).

First a structure factor calculation is done, the FP scaled and

an R-factor calculated. Then the program calculates the normal

matrix and gradient contributions for the parameters to be

refined. Gradients of atomic shifts are output to GRADMAT.

Reference: R. Agarwal, A. Lifchitz, J. Konnert, W.A Hendrickson

[6].

Example 9: MODE SFREF XYZ (or XYZB or B) UNRESTRAINED

Used for unrestrained refinement of XYZ coordinates or XYZ

coordinates and B factors or Bfactors alone. First a structure

factor calculation is done, the FP scaled and an R-factor

calculated. Then the program calculates the normal matrix,

gradient contributions and shifts for the parameters to be

refined. The shifts are analysed using arguments from STEPSIZE,

RATIO and a set of modified coordinates output to XYZOUT.

Reference: R. Agarwal, A. Lifchitz [6].

SFSGROUP <sfsgroup>

<sfsgroup> is the spacegroup number or name of the spacegroup used for

the calculation. You don't normally need to specify this as a sensible

default will be used (the highest symmetry one the program can use

which is compatible with your data) as printed in the output.

N.B. - This IS NOT NECESSARILY the spacegroup of your structure. E.g.,

you may well be calculating structure factors in P1 for a structure

with spacegroup F43212. The program will check whether the requested

<sfsgroup> is compatible with your data.

The possibilities for <sfsgroup> are: P1, P21 (4), P21212 (1018 -

alternative origin), P212121 (19), P4122/P4322 (91/95), P41212/P43212

(92/96), P31/P32 (144/145), P3/R3 (143/146), P3121/P3221 (152/154),

P61/P65 (169/170).

Any spacegroup can be run in an appropriate one whose symmetry

operators are a subset of the one of interest (P1 can always be used

as long as the hkl data are sorted with l>=0). By judiciously shifting

origins many spacegroups become supergroups. $CLIBD/symop.lib contains

the modified symmetry operators for some spacegroups. You may move the

origin of your coordinates with PDBSET. For example:

SYMGEN X + 1/4, Y + 1/4, Z

LABIN <program label>=<file label> ...

Note: This is essential for all refinement and if HKLIN is assigned

for a structure factor calculation.

The following labels can be assigned.

H     K     L     FP    SIGFP   FREE   FPART   PHIP

PHIP  F0    F1    F2    F3      F4     F5      F6

F7    F8    F9    F10   F11     F12    F13     F14

F15   F16   F17   F18   F19

Assignments for FP and SIGFP are always required. If the free R flag

is assigned to FREE, a subset of reflections can be excluded from the

calculation or refinement. See the keyword FREERFLAG. If you wish to

add a known FPART to the structure factors, assign FPART and PHIP.

This is useful if you want to calculate hydrogen contributions, add in

an anisotropic heavy atom, add in a bulk solvent correction, which has

been calculated somewhere else. The FPART can be scaled relative to

the FC by inputting a SCALE.

If you wish to copy some but not all the other columns from your input

to your output file, you may assign F0 F1 ... F19. These will be

transcribed to the output file. If you want to copy everything over,

use ALLIN on the LABOUT line.

LABOUT <program label>=<file label> ... [ ALLIN ]

<program labels> can be given for FC PHIC (and WANGWT, if required).

Any column assigned on LABIN will be copied to the output file. You

can change that file label with LABOUT if you absolutely have to, but

it is unwise!

ALLIN will copy all columns in the input file to the output file.

OPTIONAL KEYWORDS:

AVMODE [ RADIUS <radius> ] [ WEIGHT <modewt> ]

When you are preparing the 'averaged map' for generating the Wang

envelope, this sets the radius of the map sphere and the type of

weighting.

Subsidiary keywords:

RADIUS <radius>

Specify the <radius> of the averaging sphere (angstroms)

WEIGHT <modewt>

<modewt> = 1

Use weighting scheme w=1-(r/R) (Wang's method)

<modewt> = 2

Use weighting scheme w=1-(r/R)**2

BADD <badd>

A parameter added to all atomic B values. It will smear the Gaussians

used to generate the atomic density over a larger volume. L.Ten Eyck

suggests this should allow a coarser sampling grid. G. Bricogne is

sceptical and certainly it introduces serious errors into the B12

coenzyme structure factors at 1� resolution (ref Hugh Savage). EJD

shares the scepticism. The default value (0.0) gives reasonable

results for most problems.

BINS <nbins>

<nbins> (default 50) is the number of bins for the analysis of

R-factor v. resolution. Ranges of 4sin**2/Lambda**2 are of width

1.0/<nbins>. For high resolution data this needs to be reset.

BRESET <bmin>

B-factors less than <bmin> (default bmin=5.0) are set equal to <bmin>.

For high resolution data this needs to be reset.

CELL <a> <b> <c> [ <alpha> <beta> <gamma> ]

Input cell parameters explicitly. This is checked against the cell

read from the MTZ file and that read from the PDB file. The program

will continue with a warning if there is a small inconsistency and

stop if there is a serious one. <alpha> <beta> <gamma> default to 90

degrees.

CHAIN <chnlab> <iresn> <iresc>

Only needed for MODE ATMMAP RESMOD if your coordinate file has more

than one chain. You will need one CHAIN card for each chain.

<chnlab>

single character label (e.g. A)

<iresn>

first residue number

<iresc>

last residue number

EDEN <escale> <cmp> <cmn>

Done for Cecil Tate. The input map is scaled by:

xscal=escale/nx*ny*nz

and truncated.

if density(x,y,z)<0

density(x,y,z)=xscal*cmn*tanh(density(x,y,z)/cmn))

if density(x,y,z)>0

density(x,y,z)=xscal*cmp*tanh(density(x,y,z)/cmp))

END

This ends input.

FORMFACTOR [ NEUTRON | NGAUSS <ngauss> ] <atnam1> <atnam2> ...

See the NOTES ON FORMFACTORS.

SFALL has hardcoded X-ray and neutron formfactors available for atom

types H C N O S. (Default CuKa X-ray formfactors.) Other atom types

are tabulated in $CLIBD/atomsf.lib (X-ray) and

$CLIBD/atomsf_neutron.lib (neutron). If your atom identifier is not

recognised (i.e. it is not C, N, O, or S) the program will read

atomsf.lib and take the FIRST table which matches your atom ID. This

may not be satisfactory if your atom type is Fe+3, say, and you may

wish to specify the formfactor yourself.

Subsidiary keywords:

NEUTRON

Use neutron formfactors. Remember to assign ATOMSF

$CLIBD/atomsf_neutron.lib to read the correct library of

formfactors.

or

NGAUSS <ngauss>

<ngauss> (default 2) is the number of Gaussian terms requested

for the default atoms H C N O S. The only possible values are 2

or 5.

<atnam1> <atnam2> ...

Atom names for any other atom types used in XYZIN. The atom

names MUST exactly match the entries in ATOMSF library.

Example:

FORM NEUTRON   P Co+3 D

FORM NGAUSS 5  Fe+3

FREERFLAG <freeflag>

Reflections where the value of the column FREE, taken from the MTZ

file, equals <freeflag> (default 0) are omitted from the refinement or

FC calculation and their R-factor is monitored separately. If you do

not wish a free-R set to be used don't assign FREE.

GRID <nx> <ny> <nz>

<nx>, <ny>, <nz> are integers giving the number of divisions along

each whole unit cell edge. The atomic density is sampled on this grid,

so if it is too coarse you will introduce errors into the structure

factor calculation. These default to values near to celledge*2, which

defines a grid spacing of 0.5�. Different spacegroups have special

requirements for factorisation. No prime factors higher than 19 are

permitted (The `atom map' generated on this grid has the asymmetric

unit defined for this spacegroup. See table below.).

The following general restrictions must be observed:

<nx> >= 2 * HMAX + 1

<ny> >= 2 * KMAX + 1

<nz> >= 2 * LMAX + 1

In addition there are further space group dependent conditions as

follows (where `n' is an integer, i.e. <nz> must be even, for

instance):

<nx>     <ny>     <nz>

P1            -        2n       2n

P21           2n       4n       2n

P21212        4n       4n       4n

P21212a       ''       ''       ''

P212121       ''       ''       ''

P4122/P4322   4n       4n       8n

P41212/P43212 ''       ''       ''

P31/P32       6n       6n       6n

P3/R3         ''       ''       ''

P3121/p3221   ''       ''       ''

P61/P65       6n       6n      12n

H2OBG <h2obg>

Bulk water scattering to fill in all empty regions. <h2obg> (default

0.0) is the value which will fill the SOLVMAP. ICOEFL uses this.

NOSCALE

Scale between FP and FC is calculated but not applied to output FP and

SIGFP.

OMIT <th>

Reflections are not included in the refinement if mod(Fo/Fc)><th> or

mod(Fc/Fo)><th>. This provides a means of excluding data with bad

agreement from the refinement and it should be used with care

(Default: 1000).

RATIO <ratio>

Large xyz and B shifts are truncated to <ratio>*rms shift. This is

only used for UNRESTRAINED refinement.

At the beginning of a refinement, the value of ratio should be kept

fairly low (1.5 - 2.0) as shifts tend to be large when the errors in

the parameters are large. When most atoms are well refined, then the

ratio may be increased to 3 or 4, to allow for the refinement of these

atoms which are poorly placed.

RESOLUTION <dmin> [ <dmax> ]

<dmin>, <dmax> (default 1, 1000) are resolution limits in Angstroms

(or in 4*sin**2/l**2 if both are <1.0. They can be given in either

order. If only one value is given, it is assumed to be the high

resolution cutoff. The SFCALC option outputs FC for all reflections to

the outer limit (You usually calculate SFs to make maps and it is best

to calculate all SFs and then limit resolution etc. in FFT).

Default values are overwritten from HKLIN to include all reflections.

RMSSHIFT [XYZ] <rmsxyz> [B] <rmsb>

The shifts are scaled to limit the rms XYZ shift and B shift to be

equal to the set value, or to the calculated one, whichever is

smaller. Only useful during unrestrained refinement. Equivalent to

setting STEPSIZE. If RMSSHIFT is given STEPSIZE will be ignored.

Default values: 0.0 0.0.

RSCB <dsmin> <dsmax>

in Angstroms (either order) or 4s**2/lambda**2. Default values: 4.5�

and 1.0�.

If appropriate the program refines the value of the scale and overall

B value to fit <Fo**2> to <Fc**2> using reflections within this

resolution range. The default resolution range is chosen to use only

those reflections where the <Fo**2> distribution fit Wilson statistics

reasonably well. A standard protein distribution shows a sharp 5� dip,

which can distort the scale factors. <Fc**2> is often unrealistically

high for low resolution data, until the solvent is adequately

modelled. The lack of `solvent contrast' causes this.

Users are often worried because they get lower R-Factors if this scale

is fitted for all data. This does not necessarily mean such a scale is

more correct!

The default HKLOUT will have:

H K L Scale*FP Scale*SIGFP ... FC*exp(-overall_B*ss) PHIC

If NOSCALE is specified HKLOUT will have:

H K L FP SIGFP ... FC*exp(-overall_B*ss) PHIC

After the end of each structure factor calculation a new scale factor

is calculated from the following expression, where SCNEW is the new

scale factor and SCALE is the previous scale factor.

Sum {(SCALE * Fcalc) * (Fobs)}

SCNEW = SCALE *  --------------------------------------

Sum {(SCALE * Fcalc) * (SCALE * Fcalc)}

SCALE [FPART] <scale> <bov>

These parameters are applied to the Fpart as

<scale>*exp(-<bov>*ssq/ll) (Defaults: <scale>=1, <bov>=0).

Some structure factor outputs (notably SHELX) include an Fcalc scaled

as 10*absolute. SFALL calculates FC on the absolute scale. If you

wanted to combine these values you would need

SCALE FPART 0.1

SIGMA <sigma>

Data with Fobs < sigma * sd(Fobs) will not be included in refinement

calculations. This cutoff has no effect on structure factor

calculations. Do not be alarmed when your R-Factor appears to be

higher for them than when you are refining; you will have more

reflections in the structure factor sum. Default value: -1.0, i.e. no

cutoff.

STEPSIZE <szo> <szb> <szfrc>

This is only used during UNRESTRAINED refinement. XYZ shifts are

multiplied by <szo>, B shifts are multiplied by <szb>. <szfrac> is the

fractional change in step size above which a second calculation is

done. NOT used if RMSSHIFT is given. Default values: 1.0 1.0 0.3.

The program tries to estimate these using an algorithm of R.

Agarwal's. See NOTES ON STEPSIZE.

If you are doing unrestrained refinement, structure factor calculation

will be repeated if abs(initial step - optimum step)/(initial step).

SYMMETRY <sg>

(Defaults to the symmetry of the SFSGROUP). <sg> is the spacegroup

number or name. If HKLIN is assigned the symmetry will be picked up

from the MTZ file header and should NOT be specified with this

keyword. If HKLIN is not assigned you may need to give this. See

examples below.

TITLE <title>

Title (up to 80 characters) used on the printer output. The title

information after the keyword is used as a heading for map sections

and also as title information for the output reflection data file if

present.

TRUNCATE <rhmin> <rhmax>

The input map is truncated - all values <<rhmin> are set to <rhmin>,

and all values ><rhmax> set to <rhmax>. This should be used for the

solvent flattening procedure.

VDWR <dlim>

<dlim> specifies the maximum radius for which an atom is considered to

contribute to the electron density while building the `atom map'.

Default: 2.5.

The speed and accuracy of the calculation depend to some extent on the

values chosen. For 1.5� data a value of 2.5 is sufficient (a maximum

value of 3.0 is allowed). For neutron data, or for atoms with low B

values, it could safely be reset to 1�.

VERBOSE

Lots and lots of output - useful if debugging. Please note that this

may produce a message telling you that atom names have been set to ZZZ

or residue names to DUM if you have non-standard names. This is not

important as the atomic number is determined from the original atom

type. See Notes on Formfactors and Notes on Atom Names below.

WEIGHT <w>

The weight (default 0.0) applied to each structure factor is given by

(2sintheta/lambda)**<w>

(See [1]). At the beginning of the refinement use <w>=-1.5 or -1.0 to

put most weight on the low angle data. As the refinement proceeds

increase <w> to 0.0 (But actually we never use it...).

MEMORY ALLOCATION

The program allocates a large work array, whose size may be changed

from the default by setting the logical name MEMSIZE to an appropriate

integer value. The current value is printed in the output (look for

`Memory allocation'). There are other dimensions which can currently

only be changed by recompilation and the error messages are currently

not very clear about changing the MEMSIZE.

INPUT AND OUTPUT FILES

The following input and output files are used by the program (in

addition to some scratch files which are deleted at the end of program

execution):

Input Files:

XYZIN

Input Coordinates File (Brookhaven format)

HKLIN

Input Reflection Data File (MTZ format)

MAPIN

Input Map File (standard map file format)

Output Files:

XYZOUT

Output Coordinate File (Brookhaven format)

HKLOUT

Output reflection data file in standard MTZ format

MAPOUT

Output map file (Standard map file format)

GRADMAT

Output matrix file for Hendrickson Konnert program

The files used in a single run of the program depend on the options

requested via the data control keywords.

NOTES ON FORMFACTORS

The form factors are read from the file assigned to ATOMSF. This

defaults to $CLIBD/atomsf.lib. Coefficients for analytical

approximation to the scattering factors for atom identifier at a given

resolution sintheta/lambda (=S) are given as:

a1*exp(-b1*s*s) + a2*exp(-b2*s*s) - 2 Gaussian approximation

(Agarwal, 1978)

or as:

a1*exp(-b1*s*s) + a2*exp(-b2*s*s) + a3*exp(-b3*s*s)

+ a4*exp(-b4*s*s) +  c

- 5 Gaussian approximation

See [2] pp. 99-101 (Table 2.2B) or [5] p. 500ff, table 6.1.1.4 for

values a1-a4, b1-b4, c for X-rays. For neutron scattering see [2] pp.

99-101 (Table 2.2B).

The atom name can be used to assign a formfactor to it.

WARNING 1)

The program distinguishes CA - the metal - from CA - main chain

atom in a protein by its position on the coordinate line... And

older versions of FRODO get this wrong! The rules on defining

atom names are the same as those used by PDB. The chemical

symbol is specified in columns 13 and 14 and the symbol is

RIGHT justified.

0        1

e.g.    column   1   5    0  34

ATOM  ...   ZN            is Zinc

ATOM  ...    U            is Uranium

For the common atom types the program includes tables for form factors

for the required value of NGAUSS. They are C N O H and S. All others

must be read from the library files atomsf.lib or atomsf_neutron.lib

which are automatically assigned. These contain tables of formfactors

for every known atom (Kim Henrick monument).

atomsf.lib contains the five Gaussian form for X-ray data and the two

Gaussian form for atoms H C N O and S. Unless you are working at very

high resolution (>1.5�) the two Gaussian approximations are adequate

and speed up the calculations somewhat.

atomsf_neutron.lib has the constant value needed for neutron

scattering.

NOTES ON XYZIN, ATOM NAMES ETC.

Coordinates are assigned to XYZIN in Brookhaven format.

The CRYST1 card (which gives the cell dimensions) and the SCALEi cards

(which give the required transform for turning the coordinates into

fractional ones) should be included in XYZIN.

Cell parameters from the HKLIN file or CELL keyword (if either are

present) will be used in the absence of CRYST1 and SCALEi cards, but

otherwise the results of omitting the cards are somewhat unpredictable

- in some cases the program may fail, in others it may proceed but

using random or inappropriate values for the cell parameters.

If an atom has occupancy set =0.0 it will be copied to the output file

if appropriate, but not used in the calculation. This means it is easy

to exclude suspect atoms from any calculation without deleting them

from the file.

Example of part of XYZIN:

REMARK 2ZN refined coordinates

CRYST1   82.500   82.500   34.000  90.00  90.00 120.0 1       R3

SCALE1       0.01212   0.00700   0.00000        0.00000

SCALE2       0.00000   0.01400   0.00000        0.00000

SCALE3       0.00000   0.00000   0.02941        0.00000

ATOM      1  N   GLY A 201  1   -8.863  16.944  14.289  1.00 21.88

.................................

ATOM    826  CA  ALA D 130  4   -5.022  21.709 -11.876  1.00 15.58

ATOM    830 CA   WAT A 249  1   -0.002  -0.004   7.891  0.33 10.40

ATOM    831 ZN2  WAT A 249  1    0.000   0.000  -8.039  0.33 11.00

ATOM    832  OW1 WAT A 249  1    0.000   0.000  -8.039  0.00 11.00

.................................

Atom 1 is Nitrogen, 826 is Carbon, 830 is Calcium, 831 is Zinc and

832 is Oxygen.

NOTES ON HKLIN

List of H K L .. FP SIGFP ( FPART PHIP F0 .. F19 )

An MTZ file with column labels corresponding to H K L .. FP SIGFP

[FREE FPART PHIP F0 .. F19]. The header will contain the cell

dimensions and spacegroup of the structure (if you want to change

these, use MTZUTILS).

For SFCALC this file MUST BE SORTED on h k l (i.e. so h is the slowest

varying index, then k and l is the fastest), and be within the

asymmetric unit expected by the program; see below for expected limits

(CAD will reorder your file if necessary). It is sensible to do this

if your data has not been processed by CCP4 programs. XDS, MADNESS

etc. sometimes have different default asymmetric units to the CCP4

suite.

# an example of sorting native data and checking for correct

# asymmetric unit

cad  HKLIN1 $CEXAM/toxd/toxd HKLOUT toxd_sorted <<EOF

TITLE  Toxd data sorted - default symmetry P212121

LABIN FILE 1 E1=FTOXD3 E2=SIGFTOXD3

CTYPE FILE 1 E1=F  E2=Q

EOF

For SFREF this file MUST BE SORTED on h k l (i.e. so h is the slowest

varying index, then k and l is the fastest), and be extended if

necessary to cover the whole asymmetric unit expected by the program

for the SF spacegroup; see below for expected limits. If you are

working at a lower symmetry than optimal the data must have been

extended and sorted (CAD will do this too). There is a reason -

sorting data is quite slow, and you will probably use this file many

times during the course of a refinement.

# an example of extending and sorting native data to P1 +-h,+-k,+l

cad HKLIN1 $CEXAM/toxd/toxd HKLOUT toxd_p1  << EOF

OUTLIM SPACEGROUP P1

TITLE  Toxd data extended to P1 cell

LABIN FILE 1 E1=FTOXD3 E2=SIGFTOXD3

CTYPE FILE 1 E1=F  E2=Q

EOF

The agreement factor analysis is carried out against the values of FP.

Sigma values are assumed to be in column SIGFP.

IF FPART and PHIP have been defined, the FC vector equals the FPART

vector plus the FC contribution calculated from the input. FPART can

be scaled by entering a suitable value on the SCALE input.

Other columns in the input file can be copied to the output file by

assigning them to F0= F1= ... Or all columns can be copied over if the

ALLIN subkeyword is given in LABOUT.

Limits for Indices for the various space groups (these are the same as

those used in the data reduction programs and FFT):

P1          h k l : l >= 0

h k 0 : h >= 0

0 k 0 : k >= 0

P21         h k l : k >= 0, l >= 0

h k 0 : h >= 0

P21212      h k l : h >= 0, k >= 0, l >= 0

P212121     h k l : h >= 0, k >= 0, l >= 0

P41212      h k l : h >= 0, k >= 0, l >= 0, h >= k

(+ other tetragonal)

P31/P32     h k l : h >= 0, k > 0

0 0 l : l > 0

P3/R3       h k l : h >= 0, k > 0

0 0 l : l > 0

P3121/P3221 h k l : h >= 0, k >= 0, k <= h   (all l)

h h l : l >= 0

P61/P65     h k l : h >= 0, k >= 0, k <= h   (all l)

h h l : l >= 0

NOTES ON MAPIN

A standard MAP file. The header will contain the cell dimensions and

spacegroup of the structure.

If you wish to generate structure factors from a input map it is

essential that the map is in an appropriate format for the SFALL

spacegroup you request.

Common errors are:

1) using a different grid for the FFT calculation and the SFALL

calculation. FATAL!

2) Changing the axis order in the FFT calculation - both have the same

defaults for the same spacegroup! FATAL!

3) Choosing a different asymmetric unit for the FFT and the SFALL

calculation. You must make sure your map has the one which covers the

SFALL requirements. There is no flexibility here.

Limits for axes for the various space groups (these are the same as

those used as defaults in FFT):

In space group P1, P21 and P21212a, 'b' is taken as the unique

axis.

In space group P21212a, 1/4 is subtracted from the X and Y values

of the equivalent positions given in International Tables.

X1     X2     X3     Range of X3  Axis order

P1          Z      X      Y      0 to Y         Z X Y

P21         Z      X      Y      0 to Y/2-1     Z X Y

P21212a     Z      X      Y      0 to Y/4       Z X Y

P212121     X      Y      Z      0 to Z/4       Y X Z

P4122       X      Y      Z      0 to Z/8       Y X Z

P41212      X      Y      Z      0 to Z/8       Y X Z

P4322       X      Y      Z      0 to Z/8       Y X Z

P43212      X      Y      Z      0 to Z/8       Y X Z

P31         X      Y      Z      0 to Z/3-1     Y X Z

P32         X      Y      Z      0 to Z/3-1     Y X Z

P3          X      Y      Z      0 to Z-1     Y X Z

R3          X      Y      Z      0 to Z/3-1     Y X Z

P3121       X      Y      Z      0 to Z/6       Y X Z

P3221       X      Y      Z      0 to Z/6       Y X Z

P61         X      Y      Z      0 to Z/6-1     Y X Z

P65         X      Y      Z      0 to Z/6-1     Y X Z

OUTPUT from Structure Factor Calculation

Note: The logfile has been flagged with XLOGGRAPH symbols to allow

selected output to be displayed on an Xterminal.

(a)

The limits of the box used in modelling the electron density.

(b)

A list, with coordinates, of the first 10 atoms included in

generating the model electron density map.

(c)

The number of atoms input, the number of atoms in the sorted

list of atoms, and the number of atoms used in generating the

electron density.

(d)

The minimum, average and maximum values of the temperature

factors for the atoms.

(e)

Minimum and maximum electron density values are printed for

each section of the generated density. The number of slabs used

depends on the space allocated for the work arrays in the

program.

(f)

The number of reflections used and the number of reflections on

file.

(g)

Old and new scale factors (with an overall temperature factor

BOV if temperature factor dependent re-scaling was applied).

(h)

A structure factor summary table in ranges of

4sin**2theta/lambda**2 giving, for each range, the number of

reflections, the average values of Fobs and Fcalc, the

reliability index and an average value of the weighted errors.

(i)

The overall reliability index after re-scaling.

NOTES ON XYZOUT

Coordinates in Brookhaven format with the XYZ or B shifts applied -

output of unrestrained refinement.

The proportion of the shift to be applied can be modified (see the

description of keyword STEPSIZE).

If an input atom has occupancy of 0.0 it will be copied to the output

file.

NOTES ON HKLOUT

The output file contains FC and PHIC only for those reflections which

exist in the HKLIN file, even if the structure factor calculation has

covered more of reciprocal space. The list will include ALL

reflections in HKLIN within the outer resolution limit. There is no

inner resolution cutoff, or sigma cutoff. Hence there may well be more

reflections included than during refinement and your R-factor may well

be higher than the one output during refinement. All columns specified

in LABIN will be written to HKLOUT. If ALLIN is specified then all

input columns will be in HKLOUT.

If no HKLIN has been assigned the program outputs a list of H K L FC

PHIC for all possible reflections within the reciprocal asymmetric

unit for the SFSGROUP that are within the requested resolution limits.

FC and PHIC can be modified for use in solvent flattening (see keyword

AVMODE).

NOTES ON MAPOUT

Several types of maps can be output - see keyword MODE for how to

produce each one.

a)

The `atom map'. All density assigned at each grid point due to

a neighbouring atom.

b)

The `atom map' modified to include a residue flag for each main

chain and side chain atom which has contributed most to this

grid point. This allows the map correlation program to produce

a set of correlations residue by residue between an ideal map

(the `atom map') and any other map - part of real space

R-factor stuff.

c)

The `atom map' modified to include an atom number flag. This

can be used to look at hydrogen density in a neutron map.

d)

A `solvent map' with zero at all points within the protein and

some constant (H2obg) at all other points. This is a step on

the way to adding in bulk solvent to calculated structure

factors.

OUTPUT from the Gradients Calculation - NOTES ON GRADMAT

A direct access file of gradient information is output ready for input

to PROLSQ (no longer available in the CCP4 Suite). The following items

are output in this section:

(a)

The value of the minimisation function (PII). Plus the number

of reflections included in the calculation of PII.

(b)

The average and peak values of the gradients and shifts.

(c)

The slope of the search direction and the initial step size

used in the quadratic approximation to find the optimum step

size.

(d)

For unrestrained refinement a table of estimated error against

B-factor is given. For each temperature range there is the

number of atoms and the estimated error (standard deviation).

OUTPUT from the Calculation of the Optimum Shifts

This section gives PII (minimisation function) values, relative

slopes, calculated optimum step sizes and, when determined, the actual

step size used in applying the shifts.

NOTES ON STEPSIZE

R. Agarwal attempted to estimate the best step size to use during

UNRESTRAINED refinement. A displacement of the form alphaDelta(u),

which minimises the minimisation function of the least squares P(u +

alphaDelta(u)), will be the optimum where alpha is the optimum step

size. As P as a function of alpha approximates to a quadratic

function, it is possible to calculate the optimum step size, alphaopt,

from the values of P(alpha) at alpha = 0 and alpha = alpha1 and from

the slope of P(alpha) at alpha = 0. The initial step size alpha1 used

in the calculation is chosen as 1.0 or the value input in the control

data. If the fractional change in step size is greater than SZFRC (by

default 0.3) then a second calculation is done with alpha1 taken as

the optimum step size just calculated.

COMMON PROBLEMS

1. Problem: Warning after opening the input reflection file HKLIN

about the sort order not being H K L.

Solution: This may not crash the program (sometimes it does) but

even so some of the output may be unreliable if the reflections in

HKLIN have not been sorted with h as the slowest, k as the

intermediate, and l as the fastest varying index. See NOTES ON

HKLIN above for the requirements placed on HKLIN.

2. Problem: No conversion from orthogonal to fractional atom

co-ordinates (ie listed fractional co-ordinates have no value, or

the same values as the orthogonal co-ordinates).

or

Problem: Program stops with the message:

**** No Cell Input to subroutine rbfro1?? ****

after reading in XYZIN.

Solution: Check that CRYST1 and SCALE cards are present in the

input co-ordinate file XYZIN.(See NOTES ON XYZIN above).

3. Problem: Program crashes or stops after reporting statistics on

B's in MODE SFCALC. (May also occur in other MODEs for the same

reason.)

Solution: Check that the input reflection file has the correct

asymmetric unit and that the reflections have been sorted so that

h is the slowest changing index, k is the next, and l varies the

fastest. (See NOTES ON HKLIN above). Nb: the program should now

generate an explicit error message suggesting that this is the

problem.

4. Problem: Program fails after printing the title and the line

"Chain Names - First Residue - Last Residue - serial Kcount"

(possibly also with error messages concerning array sizes).

Solution: You may have to increase the value of MEMSIZE (see

MEMORY ALLOCATION above). N.B.: the program should now generate an

explicit error message suggesting that this is the problem.

5. Common problems associated with the input map can be found in the

section NOTES ON MAPIN.

EXAMPLES

Calculate map from atom coordinates

sfall

XYZIN  /f/scratch/swift/pa_model1_2.pdb

XYZOUT  $SCRATCH/junk.pdb

MAPOUT $SCRATCH/junk.map

<< END-sfall

TITL Phasing on initial PA structure (refined twice)

GRID 52 64 76

MODE ATMMAP

RESO 30 2.1

BINS  60

RSCB 5.0 2.1

SFSG 1

END

END-sfall

Read in coordinates to calculate structure factors

sfall

HKLIN $SCRATCH/pt2_pt4_shhg2_os2_nat.mtz

HKLOUT $SCRATCH/pa_model1_2_phase.mtz

XYZIN  /f/scratch/swift/pa_model1_2.pdb

<< END-sfall

TITL Phasing on initial PA structure (refined twice)

GRID 52 64 76

MODE SFCALC XYZIN HKLIN

RESO 30 2.1

BINS  60

RSCB 5.0 2.1

SFSG 1

LABI FP=F_V4 SIGFP=SIGF_V4 FREE=FreeRflag

LABO FC=FC PHIC=AC

END

END-sfall

Read in map to calculate structure factors

sfall

HKLIN $SCRATCH/pt2_pt4_shhg2_os2_nat.mtz

HKLOUT $SCRATCH/pa_model1_2_phase.mtz

MAPIN $SCRATCH/junk.map

<< END-sfall

TITL Phasing on initial PA structure (refined twice)

GRID 52 64 76

MODE SFCALC MAPIN HKLIN

RESO 30 2.1

BINS  60

RSCB 8.0 2.1

SFSG 1

LABI FP=F_V4 SIGFP=SIGF_V4

LABO FC=FC PHIC=AC

END

END-sfall

Iteration_cycles to do the back-transformation and phase combination cycles

in solvent flattening procedure

#   - back-transform map with sfall to obtain Fcs and phases, scale

#     and calculate R-factor

#   - combine the phases with sigmaa

#   - run fft to calculate a new map with Fobs and combined phases as

#     input to flatmap

#

sfall     HKLIN ../mtz/fvb18_sigmaa.mtz

HKLOUT fvb_flat_14.mtz

MAPIN  fvb_flattened_14.map

<< EOF-sfall

titl back transformation for cyc 14

mode SFCALC MAPIN HKLIN

grid 104 128 160

reso 200.0  3.0

BINS 40

rscb 10.0 3.0

sfsg  19

AVMODE RADIUS 8

badd 0

FORM NGAUSS 5  C H N O S

LABI FP=fvb_Fnp SIGFP=fvb_SIGFnp -

F0=PHIB_I3 F1=FOM_I3  -

F2=A F3=B F4=C F5=D

LABO   FC=FCWANG  PHIC=PHICWANG WANGWT=WC8

END

EOF-sfall

Unrestrained refinement

sfall

HKLIN ../data/taka_fx_trunc.mtz

XYZIN ../data/takaxp_model8_b.pdb

XYZOUT $SCRATCH/junk.pdb

<< END-sfall

TITL TAKAXP_MODEL8_9 SFS

GRID 104 136 264

MODE SFREF XYZ UNRESTRAINED

FREE 3.0

RESO 20 2.1 60

RSCB 8.0 2.1

SFSG 19

FORM NGAU 2 Ca Cr Fe+2 P

LABI FP=FP SIG=SIGFP FREE=FreeRflag

END-sfall

Prolsq refinement cycles

#!/bin/csh -f

#

#          REFINE consists of sfall, protin and prolsq

#

set LastCycle=146

set Number_of_Cycles=8

set CycleCounter=0

#

Begin:

#

@ CurrentCycle=$LastCycle + 1

#

#    ========== SFALL ==========

#

set DATE=`date`

echo ' *************************** '$CurrentCycle' **************'

echo '    '

echo ' Running SFALL for Cycle Number :' $CurrentCycle' on '$DATE

echo '    '

echo ' *************************** '$CurrentCycle' **************'

#

sfall    HKLIN   s91a.mtz

XYZIN   s91a_cyc${LastCycle}.brk

GRADMAT s91a_GRADMAT${CurrentCycle}.tmp

<< END-sfall

TITL Barnase s91a Mutant

MODE SFREF XYZB RESTRAINED  ! for prolsq

GRID 90 90 120       !div CELL by these should give .=. 0.7 A

BINS 60

RESO 10 2.2        !last no. is nstep

RATI 3             !truncate xyz and B shrifts to RATI*RMS

BADD 0             !smear the gaussians to gen atomic density [10.0]

RSCB 4 1.5         !limits for refining scale and B, same as RESO ?

SFSG 145      ! fft space group

LABIN FP=S91A_F SIGFP=S91A_SIGF FREE=FreeRflag

END

END-sfall

#

/bin/rm ${SCRATCH}s91a_junk.brk ${SCRATCH}sfall*

#

#    ========== PROTIN ==========

#

set DATE=`date`

echo ' *************************** '$CurrentCycle' **************'

echo '    '

echo ' Running PROTIN for Cycle Number :' $CurrentCycle' on '$DATE

echo ' Running PROTIN for Cycle Number :' $CurrentCycle' on '$DATE

echo '    '

echo ' *************************** '$CurrentCycle' **************'

#

protin XYZIN      s91a_cyc${LastCycle}.brk

PROTOUT    s91a_protout.out

PROTCOUNTS s91a_protcounts.out

DICTPROTN  ${LIBD}protin.dict

<< END-protin

TITLE Barnase Ser91 -> Ala

SYMMETRY 145

!

CHNNAME ID A CHNTYP  1 ROFFSET 0

CHNNAME ID B CHNTYP  2 ROFFSET 0

CHNNAME ID C CHNTYP  3 ROFFSET 0

chnname id E chntyp  4 roffset 0

!

CHNTYP  1    NTER 3   VAL 3     CTER 110 ARG 2

CHNTYP  2    NTER 3   VAL 3     CTER 110 ARG 2

CHNTYP  3    NTER 2   GLN 3     CTER 110 ARG 2

chntyp  4    wat

!

LIST  FEW          ![few]/some (for >20A)/all

PEPP  5            !no. of atoms restrained to be in a plane [5]

VDWR 1 CPR  8 3.4

END

END-protin

#

#    ========== PROLSQ ==========

#

set DATE=`date`

echo ' *************************** '$CurrentCycle' **************'

echo '    '

echo ' Running PROLSQ for Cycle Number :' $CurrentCycle' on '$DATE

echo '    '

echo ' *************************** '$CurrentCycle' **************'

#

prolsq XYZIN      s91a_cyc${LastCycle}.brk

PROTOUT    s91a_protout.out

PROTCOUNTS s91a_protcounts.out

GRADMAT    s91a_GRADMAT${CurrentCycle}.tmp

XYZOUT     s91a_cyc${CurrentCycle}.brk

<< END-prol

TITLE    Barnase s91a Mutant

CGCYCLES 20  100 1 !max no. cyc for conjugate gradient soln [50]

ORIGIN 0 0 0           !origin constraint flags

RESOLUTION 10 2.2      !select Fobs

OUTPUT XYZ             !o/p XYZ(.brk)/SF(.mtz)/SHIFTS(shifts file)

RTEST -1 1 1 1 1 1 1 1       !-1 -> +1 when R factor .=25%

NOUPDATE                    !not update atomic coord in PROTIN o/p file

MATRIX .30 .85 .85          !1st param adjusts SF/geom contribution

!start=.08;.12;.2;.25;.3;.35; final=.08

!2nd&3rd:shift factors for position and B

BATOM                       !(+) when refining indiv B

!

!               ***** Restraints *****

DISTANCE     1 0.02 0.04 0.05 0.01 0.1

PLANE        1 0.02

CHIRAL       1 0.12

TEMPERATURE  1.0 1.0 1.5 1.5 2.0 0.1   !start

!TEMPERATURE  1.0 1.5 2.0 2.0 2.5 3.0  !when R factor <25%

HOLD         0.1 1.0 0.1

!TORSION      1 20 20 30 50            !when R factor >25%

TORSION      1 10 10 15 45            !when R factor <25%

VANDERWAAL   1 0.2 -0.3 0.0 -0.2 0.0

!

!                ***** Monitor *****

MONITOR  DISTAN 3. VANDERWAAL .5  TORSION 3

MONITOR  PLANE 3 CHIRAL 3 !for R factor<25%

END

END-prol

#

Cleanup:

#

/bin/rm s91a_protout.out s91a_protcounts.out s91a_GRADMAT${CurrentCycle}.tmp

#

@ CycleCounter=$CycleCounter + 1

@ LastCycle=$LastCycle + 1

#

#    Test to see whether Number_of_cycles done

#

if ($CycleCounter<$Number_of_Cycles) goto Begin

#

Simple Runnable Examples

examples/unix/runnable/sfall.exam

AUTHORS

Eleanor Dodson and Ted Baker, based on a program by Ramesh Agarwal and

Neil Isaacs. Documented for the Daresbury Laboratory protein

crystallography system by John Campbell.

PROGRAM FUNCTION

The program is based on a least-squares refinement technique using

fast Fourier transform (FFT) methods as devised by Ramesh Agarwal. His

paper [1] on the technique should be studied to get a detailed

understanding of the method and only a broad description of the method

is given in this section.

The program may be used for

a. calculating and outputting the matrix and gradient terms required

by the restrained least squares refinement program PROLSQ (no

longer available in the CCP4 Suite). The calculated shifts can be

applied directly to the atomic coordinates/B-factor, unrestrained

refinement.

b. The generation and calculation of an electron density map from an

input set of atomic coordinates and its transformation, using FFT

techniques, to obtain a set of calculated structure factors. The

program SFALL is used to calculate structure factors from an

electron density map using Fast Fourier Transform techniques.

Whenever possible, the crystallographic symmetry is exploited to

increase the efficiency of the calculation. Care must be taken by

the user to ensure that the map has been calculated on a

sufficiently fine grid if significant errors in the calculated

structure factors are to be avoided. As a rough rule a grid size

of approximately three times the maximum index of the data in each

direction is appropriate. The use of the Fast Fourier Transform in

structure factor calculations for large molecules has been

described and discussed by L.F. Ten Eyck [3].

c. The calculation of structure factors from an electron density map.

The same cautionary measures must be applied as those explained in

(b).

Modelling of the Electron Density and Calculation of Structure Factors

The contribution of an atom to a structure factor is the product of an

atomic form factor function and a Gaussian temperature factor

function. If the form factor function is approximated by a sum of

Gaussian functions, then this contribution may be represented by the

sum of Gaussian terms and so may the modelled electron density. The

amount of computation required in setting up the electron density map

is proportional to the number of Gaussian terms used in approximating

the form factor. The use of a two term Gaussian is probably adequate

in most cases where the resolution of the data does not extend beyond

1.5�. The program does, however, allow for the input of other numbers

of terms. Non default atoms defined in FORMFACTOR are usually

represented as five Gaussians since heavy atom scattering factors are

more complex.

Tables of coefficients for a five term Gaussian approximation to the

atomic form factors are given in the International Tables for X-ray

Crystallography Vol.IV [2]. Some values for two and one term Gaussian

approximations are given in the Agarwal paper.

The radius of the atoms (beyond which the electron density is

considered to be negligible) is also required in the calculation. The

value for this radius must be chosen to balance the requirements of

accuracy (large radius) and speed (small radius). The tables below

indicate the radii required for carbon atoms, for different

temperature factors (Bm), to give a given fractional loss of electron

density (DeltaZm/Zm).

DeltaZm/Zm     0.02     0.01     0.005

Two term Gaussian         Bm

5       1.89     2.06     2.22

10       2.02     2.21     2.38

20       2.26     2.47     2.68

More values are given in the Agarwal paper.

The electron density map is built up using the contributions from each

atom within, or near (within the atom radius) to, the part of the map

being calculated. A three dimensional FFT of the electron density map

is used to calculate the structure factors. In this calculation the

space group symmetries are used whenever possible.

If the sampling grid is too coarse, significant errors may occur in

the calculation of the structure factors. These errors may be reduced

[3] either by using a finer grid for the calculation or by adding an

artificial extra temperature factor to all the atoms when modelling

the density (not recommended). This factor has also to be taken into

account when the calculated structure factors are compared with the

observed structure factors.

Calculation of the Gradients

The gradients are calculated by convoluting a modified difference

density function with the electron densities of the individual atoms

being refined. The density function is calculated by calculating the

Fourier transform (again using the FFT) of a difference function based

on the weighted values of the errors in the structure factors. A three

dimensional difference FFT is calculated and convoluted with the

derivatives of the atomic density for x y and z, or B. The convolution

is carried out by summing, over all the grid points enclosed by the

atom (radius defined as described above), the product of the electron

density of the atom and the value of the modified difference density

function. Thus, the calculation of the gradients is similar to the

calculation of the structure factors with the steps being reversed.

The Normal Matrix

Only the diagonal terms (interacting between parameters of the same

atom) are calculated for the normal matrix. The method described by

Agarwal is used but is generalised to allow for a variable number of

terms in the Gaussian approximations to the atomic form factors. Also

the function A'xx(bi) is tabulated for each value of bi from 1 to 150

and the nearest values, rather than interpolated values, are selected

from the table when forming the diagonal terms of the matrix.

A set of terms, H, is only calculated for one parameter as the other

diagonal terms may be calculated to a good degree of accuracy from

this initial set. An inverse matrix is set up for calculating the

orthogonalised contributions of the gradient.

Calculation of the Shifts

The shifts, calculated as described above, may not in fact be the

optimum ones to use due to the approximate nature and the

non-linearity of the method used. In practice, it is unwise to apply

large shifts as these may give rise to instability in the refinement

or to `oscillating atoms' and thus provision is made to truncate the

larger shifts. The program allows for the input of a ratio, RATIO,

which may be used to truncate the maximum value of a shift to

RATIO * r.m.s. value of the shifts

At the beginning of a refinement, the value of RATIO should be kept

fairly low (1.5-2.0) as shifts tend to be large when the errors in the

parameters are large. When most atoms are well refined, then the ratio

may be increased to 3 or 4, to allow for the refinement of these atoms

which are poorly placed.

Even these truncated shifts may not be the optimum shifts to be

applied. A displacement of the form alphaDelta(u), which minimises the

minimisation function of the least squares P(u + alphaDelta(u)), will

be the optimum where alpha is the optimum step size. As P as a

function of alpha approximates to a quadratic function, it is possible

to calculate the optimum step size, alphaopt, from the values of

P(alpha) at alpha = 0 and alpha = alpha1 and from the slope of

P(alpha) at alpha = 0. The initial step size alpha1 used in the

calculation is chosen as 1.0 or the value input in the control data.

If the fractional change in step size is greater than SZFRC (by

default 0.3) then a second calculation is done with alpha1 taken as

the optimum step size just calculated.

REFERENCES

1. Agarwal, R.C., Acta Cryst., (1978), A34, 791-809.

2. International Tables for X-ray Crystallography, Vol.IV, (1974),

Kynoch Press.

3. Ten Eyck, L.F., Acta Cryst., (1977), A33, 486.

4. Bruenger, A.T., Nature 355, 472-4 (1992)

5. International Tables for Crystallography, vol. C, (1995), Kluwer.

6. "Refinement of protein structures", Proceedings of the Daresbury

Study Weekend 15-16 November, 1980 (Compiled by P.S. Machin, J.W.

Campbell and M. Elder).

SEE ALSO

cad, freerflag, fft, icoefl, mtzutils, overlapmap, pdbset, prolsq (no

longer available in the CCP4 Suite), protin, sigmaa, watersearch (1),

xloggraph, X-PLOR manual